## Tabelle1
Related chapters and sections in UserGuide |  | Keysight-AWG-M8195A
OpenIO
CloseIO
6.5 System Related Commands (SYSTem Subsystem) |  | EventInTriggerOutSwitchSet
EventInTriggerOutSwitchQuery
ErrorQuery
SCPIListQuery
LicenseQuery
InstrumentSettingSet
InstrumentSettingQuery
SCPIVersionQuery
SoftFrontPanelConnectionsQuery
SoftFrontPanelVXI11NumberQuery
SoftFrontPanelHiSLIPNumberQuery
SoftFrontPanelSocketPortQuery
SoftFrontPanelTelnetPortQuery
SoftFrontPanelTCPPortQuery
6.6 Common Command List |  | InstrumentID
ClearEventRegister
StatusRegisterBit5Set
StatusRegisterBit5Query
StandardEventStatusRegisterQuery
OperationCompleteSet
OperationCompleteQuery
InstalledOptionsQuery
InstrumentReset
ServiceRequestEnableBitsSet
ServiceRequestEnableBitsQuery
StatusByteRegisterQuery
SelfTestQuery
InstrumentSettingLearnQuery
WaitCurrentCommandExecutionQuery
6.7 Status Model | 6.7.1 :STATus:PRESet | StatusGroupEventRegistersClear
| 6.7.3 Questionable Data Register Command Subsystem 6.7.5 Voltage Status Subsystem 6.7.6 Frequency Status Subsystem 6.7.7 Sequence Status Subsystem 6.7.8 DUC Status Subsystem 6.7.9 Connection Status Subsystem | QuestionableStatusQuery
QuestionableStatusConditionQuery
QuestionableStatusEnableSet
QuestionableStatusEnableQuery
QuestionableStatusNegTransitionSet
QuestionableStatusNegTransitionQuery
QuestionableStatusPosTransitionSet
QuestionableStatusPosTransitionQuery
| 6.7.4 Operation Status Subsystem 6.7.10 Run Status Subsystem | OperationStatusQuery
OperationStatusConditionQuery
OperationStatusEnableSet
OperationStatusEnableQuery
OperationStatusNegTransitionSet
OperationStatusNegTransitionQuery
OperationStatusPosTransitionSet
OperationStatusPosTransitionQuery
6.8 Arm/Trigger Subsystem |  | SignalGenerationChannelStop
ModuleDelaySet
ModuleDelayQuery
SampleClockDelaySet
SampleClockDelayQuery
ArmModeSet
ArmModeQuery
ContinuousModeSet
ContinuousModeQuery
GateModeSet
GateModeQuery
SignalGenerationStart
TriggerInputThresholdLevelSet
TriggerInputThresholdLevelQuery
TriggerInputSlopeSet
TriggerInputSlopeQuery
TriggerFunctionSourceSet
TriggerFunctionSourceQuery
InternalTriggerFrequencySet
InternalTriggerFrequencyQuery
InputTriggerEventOperationModeSet
InputTriggerEventOperationModeQuery
EventInputThresholdLevelSet
EventInputThresholdLevelQuery
EventInputSlopeSet
EventInputSlopeQuery
EnableEventSourceSet
EnableEventSourceQuery
HardwareInputDisableStateEnableFunctionSet
HardwareInputDisableStateEnableFunctionQuery
HardwareInputDisableStateTriggerFunctionSet
HardwareInputDisableStateTriggerFunctionQuery
HardwareInputDisableStateAdvanceFunctionSet
HardwareInputDisableStateAdvanceFunctionQuery
6.9 Trigger - Trigger Input |  | AdvanceEventSourceSet
AdvanceEventSourceQuery
TriggerEnableEvent
TriggerBeginEvent
TriggerGatedModeSet
TriggerGatedModeQuery
TriggerAdvanceEvent
6.10 Format Subsystem |  | FormatByteOrderSet
FormatByteOrderQuery
6.11 Instrument Subsystem |  | InstrumentSlotNumberQuery
InstrumentAccessLEDStart
InstrumentAccessLEDStop
HardwareRevisionNumber
DACOperationModeSet
DACOperationModeQuery
ExtendedMemorySampleRateDividerSet
ExtendedMemorySampleRateDividerQuery
MultiModuleConfigurationModeQuery
MultiModuleModeQuery
6.12 :MMEMory Subsystem |  | DiskUsageInformationQuery
DefaultDirectorySet
DefaultDirectoryQuery
CopyFileOrDirSet
CopyFileAndDirSet
RemoveFileSet
DataInFileLoad
DataInFileQuery
DirectoryCreate
MoveFileOrDirSet
MoveFileAndDirSet
DirectoryRemove
InstrumentStateLoad
InstrumentStateSet
6.13 :OUTPut Subsystem |  | OutputAmplifierSet
OutputAmplifierQuery
OutputClockSourceSet
OutputClockSourceQuery
DACSampleFreqDividerSet
DACSampleFreqDividerQuery
RefClockFreqDivider1Set
RefClockFreqDivider1Query
RefClockFreqDivider2Set
RefClockFreqDivider2Query
DifferentialOffset
DifferentialOffsetQuery
SampleRateDivider
FIRCoefficientSet
FIRCoefficientQuery
FIRTypeSet
FIRTypeQuery
FIRScalingFactorSet
FIRScalingFactorQuery
FIRDelaySet
FIRDelayQuery
6.14 Sampling Frequency Commands |  | DACSampleFreqSet
DACSampleFreqQuery
6.15 Reference Oscillator Commands |  | ReferenceClockSourceSet
ReferenceClockSourceQuery
ReferenceClockSourceAvailability
ExternalClockSourceFreqSet
ExternalClockSourceFreqQuery
ExternalClockSourceRangeSet
ExternalClockSourceRangeQuery
ExternalClockSourceRangeFreqSet
ExternalClockSourceRangeFreqQuery
6.16 :VOLTage Subsystem |  | OutputAmplitudeSet
OutputAmplitudeQuery
OutputHighLevelSet
OutputHighLevelQuery
OutputLowLevelSet
OutputLowLevelQuery
OutputOffset
OutputOffsetQuery
TerminationVoltageSet
TerminationVoltageQuery
6.17 Source:Function:MODE |  | WaveformTypeSet
WaveformTypeQuery
6.18 :STABle Subsystem |  | ResetAllSequenceTable
SequenceDataSet
SequenceIdleSet
SequenceDataQuery
SequenceDataBinaryBlockFormatQuery
SequenceStartingIndexSet
SequenceStartingIndexQuery
SequenceExecutionStateAndIndexEntry
DynamicModeSet
DynamicModeQuery
DynamicStartingIndexSet
ScenarioStartingIndexSet
ScenarioStartingIndexQuery
AdvancementModeScenarioSet
AdvancementModeScenarioQuery
ScenarioLoopCountSet
ScenarioLoopCountQuery
6.19 Frequency and Phase Response Data Access |  | FreqAndPhaseRespDataQuery
6.20 CARRier Subsystem |  | For future development
6.21 :TRACe Subsystem |  | WaveformMemorySourceSet
WaveformMemorySourceQuery
WaveformMemorySegmentSet
WaveformMemoryNewSegmentSet
WaveformDataInMemorySet
WaveformDataInMemoryQuery
WaveformDataFromFileImport
WaveformDataFromBinImport
For future development
FileImportScalingStateSet
FileImportScalingStateQuery
DeleteSegment
DeleteAllSegment
SegmentsIDLengthQuery
MemorySpaceWaveformData
SegmentNameSet
SegmentNameQuery
SegmentCommentSet
SegmentCommentQuery
SegmentSelectSet
SegmentSelectQuery
AdvancementModeSegmentSet
AdvancementModeSegmentQuery
SelectedSegmentLoopCountSet
SelectedSegmentLoopCountQuery
SelectedSegmentMarkerStateSet
SelectedSegmentMarkerStateQuery
6.22 :TEST Subsystem |  | SelfTestsPowerResultQuery
SelfTestsPowerResultMessageQuery
| Number of dunctions: | 203