## Tabelle1
Related chapters and sections in UserGuide |  | Keysight-AWG-M8195A | snake_case naming style
|  | OpenIOSession | open_io_session
|  | CloseIOSession | close_io_session
6.5 System Related Commands (SYSTem Subsystem) |  | EventInTriggerOutSwitchSet | set_event_in_trigger_out_switch
|  | EventInTriggerOutSwitchQuery | get_event_in_trigger_out_switch
|  | ErrorQuery | get_error
|  | SCPIListQuery | get_scpi_list
|  | LicenseQuery | get_license
|  | InstrumentSettingSet | set_instrument_setting
|  | InstrumentSettingQuery | get_instrument_setting
|  | SCPIVersionQuery | get_scpi_version
|  | SoftFrontPanelConnectionsQuery | get_softfrontpanel_connections
|  | SoftFrontPanelVXI11NumberQuery | get_softfrontpanel_vxi11number
|  | SoftFrontPanelHiSLIPNumberQuery | get_softfrontpanel_hislipnumber
|  | SoftFrontPanelSocketPortQuery | get_softfrontpanel_socketport
|  | SoftFrontPanelTelnetPortQuery | get_softfrontpanel_telnetport
|  | SoftFrontPanelTCPPortQuery | get_softfrontpanel_tcpport
6.6 Common Command List |  | InstrumentID | instrument_id
|  | ClearEventRegister | clear_event_register
|  | StatusRegisterBit5Set | set_status_register_bit5
|  | StatusRegisterBit5Query | get_status_register_bit5
|  | StandardEventStatusRegisterQuery | get_standard_event_status_register
|  | OperationCompleteSet | set_operation_complete
|  | OperationCompleteQuery | get_operation_complete
|  | InstalledOptionsQuery | get_installed_options
|  | InstrumentReset | instrument_reset
|  | ServiceRequestEnableBitsSet | set_service_request_enable_bits
|  | ServiceRequestEnableBitsQuery | get_service_request_enable_bits
|  | StatusByteRegisterQuery | get_status_byte_register
|  | SelfTestQuery | get_self_test
|  | InstrumentSettingLearnQuery | get_instrument_setting_learn
|  | WaitCurrentCommandExecutionQuery | get_wait_current_command_execution
6.7 Status Model | 6.7.1 :STATus:PRESet | StatusGroupEventRegistersClear | clear_status_group_event_registers
| 6.7.3 Questionable Data Register Command Subsystem 6.7.5 Voltage Status Subsystem 6.7.6 Frequency Status Subsystem 6.7.7 Sequence Status Subsystem 6.7.8 DUC Status Subsystem 6.7.9 Connection Status Subsystem | QuestionableStatusQuery | get_questionable_status
|  | QuestionableStatusConditionQuery | get_questionable_status_condition
|  | QuestionableStatusEnableSet | set_questionable_status_enable
|  | QuestionableStatusEnableQuery | get_questionable_status_enable
|  | QuestionableStatusNegTransitionSet | set_questionable_status_neg_transition
|  | QuestionableStatusNegTransitionQuery | get_questionable_status_neg_transition
|  | QuestionableStatusPosTransitionSet | set_questionable_status_pos_transition
|  | QuestionableStatusPosTransitionQuery | get_questionable_status_pos_transition
| 6.7.4 Operation Status Subsystem 6.7.10 Run Status Subsystem | OperationStatusQuery | get_operation_status
|  | OperationStatusConditionQuery | get_operation_status_condition
|  | OperationStatusEnableSet | set_operation_status_enable
|  | OperationStatusEnableQuery | get_operation_status_enable
|  | OperationStatusNegTransitionSet | set_operation_status_neg_transition
|  | OperationStatusNegTransitionQuery | get_operation_status_neg_transition
|  | OperationStatusPosTransitionSet | set_operation_status_pos_transition
|  | OperationStatusPosTransitionQuery | get_operation_status_pos_transition
6.8 Arm/Trigger Subsystem |  | SignalGenerationChannelStop | signal_generation_channel_stop
|  | ModuleDelaySet | set_module_delay
|  | ModuleDelayQuery | get_module_delay
|  | SampleClockDelaySet | set_sample_clock_delay
|  | SampleClockDelayQuery | get_sample_clock_delay
|  | ArmModeSet | set_arm_mode
|  | ArmModeQuery | get_arm_mode
|  | ContinuousModeSet | set_continuous_mode
|  | ContinuousModeQuery | get_continuous_mode
|  | GateModeSet | set_gate_mode
|  | GateModeQuery | get_gate_mode
|  | SignalGenerationStart | signal_generation_start
|  | TriggerInputThresholdLevelSet | set_trigger_input_threshold_level
|  | TriggerInputThresholdLevelQuery | get_trigger_input_threshold_level
|  | TriggerInputSlopeSet | set_trigger_input_slope
|  | TriggerInputSlopeQuery | get_trigger_input_slope
|  | TriggerFunctionSourceSet | set_trigger_function_source
|  | TriggerFunctionSourceQuery | get_trigger_function_source
|  | InternalTriggerFrequencySet | set_internal_trigger_freq
|  | InternalTriggerFrequencyQuery | get_internal_trigger_freq
|  | InputTriggerEventOperationModeSet | set_input_trigger_event_operation_mode
|  | InputTriggerEventOperationModeQuery | get_input_trigger_event_operation_mode
|  | EventInputThresholdLevelSet | set_event_in_threshold_level
|  | EventInputThresholdLevelQuery | get_event_in_threshold_level
|  | EventInputSlopeSet | set_event_input_slope
|  | EventInputSlopeQuery | get_event_input_slope
|  | EnableEventSourceSet | set_enable_event_source
|  | EnableEventSourceQuery | get_enable_event_source
|  | HardwareInputDisableStateEnableFunctionSet | set_hw_input_disable_state_enable_function
|  | HardwareInputDisableStateEnableFunctionQuery | get_hw_input_disable_state_enable_function
|  | HardwareInputDisableStateTriggerFunctionSet | set_hw_input_disable_state_trigger_function
|  | HardwareInputDisableStateTriggerFunctionQuery | get_hw_input_disable_state_trigger_function
|  | HardwareInputDisableStateAdvanceFunctionSet | set_hw_input_disable_state_advance_function
|  | HardwareInputDisableStateAdvanceFunctionQuery | get_hw_input_disable_state_advance_function
6.9 Trigger - Trigger Input |  | AdvanceEventSourceSet | set_advance_event_source
|  | AdvanceEventSourceQuery | get_advance_event_source
|  | TriggerEnableEvent | trigger_enable_event
|  | TriggerBeginEvent | trigger_begin_event
|  | TriggerGatedModeSet | set_trigger_gated_mode
|  | TriggerGatedModeQuery | get_trigger_gated_mode
|  | TriggerAdvanceEvent | trigger_advance_event
6.10 Format Subsystem |  | FormatByteOrderSet | set_format_byte_order
|  | FormatByteOrderQuery | get_format_byte_order
6.11 Instrument Subsystem |  | InstrumentSlotNumberQuery | get_instrument_slot_number
|  | InstrumentAccessLEDStart | instrument_access_led_start
|  | InstrumentAccessLEDStop | instrument_access_led_stop
|  | HardwareRevisionNumber | hw_revision_number
|  | DACOperationModeSet | set_dac_operation_mode
|  | DACOperationModeQuery | get_dac_operation_mode
|  | ExtendedMemorySampleRateDividerSet | set_extended_mem_sample_rate_divider
|  | ExtendedMemorySampleRateDividerQuery | get_extended_mem_sample_rate_divider
|  | MultiModuleConfigurationModeQuery | get_multi_module_config_mode
|  | MultiModuleModeQuery | get_multi_module_mode
6.12 :MMEMory Subsystem |  | DiskUsageInformationQuery | get_disk_usage_info
|  | DefaultDirectorySet | set_default_dir
|  | DefaultDirectoryQuery | get_default_dir
|  | CopyFileOrDirSet | set_copy_file_or_dir
|  | CopyFileAndDirSet | set_copy_file_and_dir
|  | RemoveFileSet | set_remove_file
|  | DataInFileLoad | load_data_in_file
|  | DataInFileQuery | get_data_in_file
|  | DirectoryCreate | dir_create
|  | MoveFileOrDirSet | set_move_file_or_dir
|  | MoveFileAndDirSet | set_move_file_and_dir
|  | DirectoryRemove | dir_remove
|  | InstrumentStateLoad | load_instrument_state
|  | InstrumentStateSet | set_instrument_state
6.13 :OUTPut Subsystem |  | OutputAmplifierSet | set_output_amplifier
|  | OutputAmplifierQuery | get_output_amplifier
|  | OutputClockSourceSet | set_output_clock_source
|  | OutputClockSourceQuery | get_output_clock_source
|  | DACSampleFreqDividerSet | set_dac_sample_freq_divider
|  | DACSampleFreqDividerQuery | get_dac_sample_freq_divider
|  | RefClockFreqDivider1Set | set_ref_clock_freq_divider1
|  | RefClockFreqDivider1Query | get_ref_clock_freq_divider1
|  | RefClockFreqDivider2Set | set_ref_clock_freq_divider2
|  | RefClockFreqDivider2Query | get_ref_clock_freq_divider2
|  | DifferentialOffset | differential_offset
|  | DifferentialOffsetQuery | get_differential_offset
|  | SampleRateDivider | sample_rate_divider
|  | FIRCoefficientSet | set_fir_coefficient
|  | FIRCoefficientQuery | get_fir_coefficient
|  | FIRTypeSet | set_fir_type
|  | FIRTypeQuery | get_fir_type
|  | FIRScalingFactorSet | set_fir_scaling_factor
|  | FIRScalingFactorQuery | get_fir_scaling_factor
|  | FIRDelaySet | set_fir_delay
|  | FIRDelayQuery | get_fir_delay
6.14 Sampling Frequency Commands |  | DACSampleFreqSet | set_dac_sample_freq
|  | DACSampleFreqQuery | get_dac_sample_freq
6.15 Reference Oscillator Commands |  | ReferenceClockSourceSet | set_ref_clock_source
|  | ReferenceClockSourceQuery | get_ref_clock_source
|  | ReferenceClockSourceAvailability | ref_clock_source_availability
|  | ExternalClockSourceFreqSet | set_external_clock_source_freq
|  | ExternalClockSourceFreqQuery | get_external_clock_source_freq
|  | ExternalClockSourceRangeSet | set_external_clock_source_range
|  | ExternalClockSourceRangeQuery | get_external_clock_source_range
|  | ExternalClockSourceRangeFreqSet | set_external_clock_source_range_freq
|  | ExternalClockSourceRangeFreqQuery | get_external_clock_source_range_freq
6.16 :VOLTage Subsystem |  | OutputAmplitudeSet | set_output_amplitude
|  | OutputAmplitudeQuery | get_output_amplitude
|  | OutputHighLevelSet | set_output_high_level
|  | OutputHighLevelQuery | get_output_high_level
|  | OutputLowLevelSet | set_output_low_level
|  | OutputLowLevelQuery | get_output_low_level
|  | OutputOffset | output_offset
|  | OutputOffsetQuery | get_output_offset
|  | TerminationVoltageSet | set_termination_voltage
|  | TerminationVoltageQuery | get_termination_voltage
6.17 Source:Function:MODE |  | WaveformTypeSet | set_waveform_type
|  | WaveformTypeQuery | get_waveform_type
6.18 :STABle Subsystem |  | ResetAllSequenceTable | reset_all_sequence_table
|  | SequenceDataSet | set_sequence_data
|  | SequenceIdleSet | set_sequence_idle
|  | SequenceDataQuery | get_sequence_data
|  | SequenceDataBinaryBlockFormatQuery | get_sequence_data_binary_block_format
|  | SequenceStartingIndexSet | set_sequence_starting_index
|  | SequenceStartingIndexQuery | get_sequence_starting_index
|  | SequenceExecutionStateAndIndexEntry | sequence_executation_state_and_index_entry
|  | DynamicModeSet | set_dynamic_mode
|  | DynamicModeQuery | get_dynamic_mode
|  | DynamicStartingIndexSet | set_dynamic_starting_index
|  | ScenarioStartingIndexSet | set_scenario_starting_index
|  | ScenarioStartingIndexQuery | get_scenario_starting_index
|  | AdvancementModeScenarioSet | set_advancement_mode_scenario
|  | AdvancementModeScenarioQuery | get_advancement_mode_scenario
|  | ScenarioLoopCountSet | set_scenario_loop_count
|  | ScenarioLoopCountQuery | get_scenario_loop_count
6.19 Frequency and Phase Response Data Access |  | FreqAndPhaseRespDataQuery | get_freq_and_phase_resp_data
6.20 CARRier Subsystem |  | For future development | For future development
6.21 :TRACe Subsystem |  | WaveformMemorySourceSet | set_waveform_mem_source
|  | WaveformMemorySourceQuery | get_waveform_mem_source
|  | WaveformMemorySegmentSet | set_waveform_mem_segment
|  | WaveformMemoryNewSegmentSet | set_waveform_mem_new_segment
|  | WaveformDataInMemorySet | set_waveform_data_in_mem
|  | WaveformDataInMemoryQuery | get_waveform_data_in_mem
|  | WaveformDataFromFileImport | waveform_data_from_file_import
|  | WaveformDataFromBinImport | waveform_data_from_bin_import
|  | For future development | For future development
|  | FileImportScalingStateSet | set_file_import_scaling_state
|  | FileImportScalingStateQuery | get_file_import_scaling_state
|  | DeleteSegment | delete_segment
|  | DeleteAllSegment | delete_all_segment
|  | SegmentsIDLengthQuery | get_segments_id_length
|  | MemorySpaceWaveformData | mem_space_waveform_data
|  | SegmentNameSet | set_segment_name
|  | SegmentNameQuery | get_segment_name
|  | SegmentCommentSet | set_segment_comment
|  | SegmentCommentQuery | get_segment_comment
|  | SegmentSelectSet | set_segment_select
|  | SegmentSelectQuery | get_segment_select
|  | AdvancementModeSegmentSet | set_advancement_mode_segment
|  | AdvancementModeSegmentQuery | get_advancement_mode_segment
|  | SelectedSegmentLoopCountSet | set_selected_segment_loop_count
|  | SelectedSegmentLoopCountQuery | get_selected_segment_loop_count
|  | SelectedSegmentMarkerStateSet | set_selected_segment_marker_state
|  | SelectedSegmentMarkerStateQuery | get_selected_segment_marker_state
6.22 :TEST Subsystem |  | SelfTestsPowerResultQuery | get_self_tests_power_result
|  | SelfTestsPowerResultMessageQuery | get_self_tests_power_result_messsage
| Number of Functions: | 203